SUPPLY CONTRACT NOTICE

Supply of equipment to upgrade the existing photovoltaic electrical station with add. 20kwh and supply of 2 (two) electric car chargers
Resen, Municipality of Resen, Republic of North Macedonia

# 1.	Reference

iCARE, WP3, del.3.2, 09-2517/1

# 2.	Procedure

Simplified

# 3. 	Programme title

- Cooperation Programme 628 - Interreg VI-A IPA Greece-North Macedonia 2021-2027

# 4. 	Financing

628 - Interreg VI-A IPA Greece-North Macedonia Cooperation Programme, Project iCARE-6007164, Subsidy Contract no. 24758, WP. 3, Del. 3.2. – Equipment, Other Specific Equipment

# 5. 	Contracting authority

Municipality of Resen

Square Car Samoil no.20,

7310, Resen, Republic of North Macedonia

CONTRACT SPECIFICATION

# 6. 	Nature of contract

Lump sum

# 7. 	Contract description

Within the Project “Healthcare open and inclusive for All (iCARE), Working Package 3, Deliverable 3.2, the contracting authority will select a company that will supply, delivery, unloading, sitting and installation, commissioning, maintenance and after-sales service to of equipment needed to upgrade the existing photovoltaic power plant with installed power up to maximum 20 KW and 2 (two) electric car charging stations.

The existing PV station is located on the roof of the municipal building in Resen with capacity of 19.80 KW. The upgrade of the PV station should be implemented in accordance with national law and legislation in force.

The contractor should prepare a main design for installation of additional PV station elements with phase Architecture and Electrical engineering phase. The document should be prepared according to national legislation.

Equipment needed for upgrading the PV station is listed in the technical specifications (Annex II).

The contractor has to supply and install a proper 2(two) charging stations for electrical cars.

# 8. 	Number and titles of lots

This contract is divided into lots: no

CONDITIONS OF PARTICIPATION

# 9.	Legal basis, eligibility and rules of origin

*****

The legal basis of this procedure is Regulation (EU) No 2021/1529 establishing the Instrument for Pre-accession Assistance (IPA III). See Annex A2a1 of the practical guide.

For this contract award procedure, participation is open to all natural persons who are nationals of and legal persons (participating either individually or in a grouping – consortium – of candidates/tenderers) which are effectively established in a  Member State of the European Union or in an eligible country or territory as defined under Article 11 of Regulation (EU) No 2021/1529  establishing the Instrument for Pre-accession Assistance (IPA III).

Participation is also open to international and regional organisations.

All supplies under this contract may originate in any country

*****

# 10. 	Number of tenders

No more than one tender can be submitted by a natural or legal person whatever the form of participation (as an individual legal entity or as leader or member of a consortium submitting a tender).  In the event that a natural or legal person submits more than one tender, all tenders in which that person has participated will be excluded.

Any tenderer may state in its tender that it would offer a discount in the event that its tender is accepted for more than one lot.

# 11. 	Grounds for exclusion

As part of the tender, tenderers must submit a signed declaration, included in the tender form, to the effect that they are not in any of the exclusion situations listed in Section 2.4.2.1. of the practical guide. Where the tenderer intends to rely on capacity providing entities or subcontractor(s), he/she must provide the same declaration signed by this/these entity(ies).

Tenderer included in the lists of EU restrictive measures (see Section 2.4. of the PRAG) at the moment of the award decision cannot be awarded the contract.

# 12. 	Sub-contracting

Subcontracting is allowed.

PROVISIONAL TIMETABLE

# 13. 	Provisional commencement date of the contract

26.10.2026

# 14. 	Implementation period of the tasks

3 (three) months after signing the contract by both contracting sides

SELECTION AND AWARD CRITERIA

# 15. 	Selection criteria

Capacity-providing entities

An economic operator (i.e. candidate or tenderer) may, where appropriate and for a particular contract, rely on the capacities of other entities, regardless of the legal nature of the links it has with them. If the economic operator relies on other entities, it must in that case prove to the contracting authority that it will have at its disposal the resources necessary for the performance of the contract by producing a commitment by those entities to place those resources at its disposal. Such entities, for instance the parent company of the economic operator, must respect the same rules of eligibility and notably that of nationality as the economic operator relying on them and must comply with the selection criteria for which the economic operator relies on them. Furthermore, the data for this third entity for the relevant selection criterion should be included in a separate document. Proof of the capacity will also have to be provided when requested by the contracting authority.

With regard to technical and professional criteria, an economic operator may only rely on the capacities of other entities where the latter will perform the tasks for which these capacities are required.

With regard to economic and financial criteria, the entities upon whose capacity the economic operator relies, become jointly and severally liable for the performance of the contract

The following selection criteria will be applied to the tenderers. In the case of tenders submitted by a consortium, these selection criteria will be applied to the consortium as a whole if not specified otherwise. The selection criteria will not be applied to natural persons and single-member companies when they are sub-contractors.

The tenderer shall not use previous experience which caused breach of contract and termination by a contracting authority as a reference for selection criteria.

#### The selection criteria for each tenderer are as follows:

- Economic and financial capacity of the tenderer (based on item 3 of the tender form). In case of tenderer being a public body, equivalent information should be provided. The reference period which will be taken into account will be the last three financial years for which accounts have been closed.

Criterion 1: average annual turnover

The candidate’s or tenderer’s average annual turnover of the last 3 financial years for which the      accounts have been closed must be not less than 40.000 EUR.

2)	Professional capacity of the tenderer (based on items 4 and 5 of the tender form).

The reference period which will be taken into account will be the last three years preceding the submission deadline.

Criterion 1: Certificate of Registered Business Activity issued by the Central Registry.

Criterion 2: Possession of valid Licence B for performance of works – installation of the equipment, issued by competent authority according legislation in the country of the tenderer (obligatory provide copy of the Licence in Your offer)

Criterion 2: The tenderer must have one civil or architectural engineer with at least Authorisation B for performance of works and installation of the equipment (per contract or part time or full time) and one electrical engineer with at least Authorisation B for performance of works and installation of equipment (per contract or part time or full time)

Criterion 3: Minimum Authorization B for design of 2nd category buildings, issued by the Ministry for Transport and Communications of the Republic of North Macedonia

Criteria 4: A statement of the technical equipment, tools or the plant available to the economic operator for performing the installation of the equipment; (The tenderer must have or hired transport vehicles for PV panels, lifting equipment, scaffold)

- Technical capacity of tenderer (based on items 6 of the tender form). The reference period which will be taken into account will be the last three years preceding the submission deadline.

- the tenderer has delivered supplies under at least  2 (two) contracts  each with a budget of at least that of this contract in energy efficiency investments, preferably equipping photovoltaic stations  which were implemented at any moment during the following period: October 2023 – October  2026.

This means that the contract the tenderer refers to could have been implemented at any time during the indicated period but it does not necessarily have to be completed during that period, nor implemented during the entire period. Tenderers are allowed to refer either to supply contracts completed within the reference period (although started earlier) or to supply contracts partially implemented during, but not yet completed within the reference period. Only the part completed during the reference period will be taken into consideration. This part will have to be supported by documentary evidence (approval of report or deliverable, proof of payment, statement or certificate from the entity which awarded the contract) also detailing its value. If a tenderer has implemented the supply contract in a consortium, the percentage that the tenderer has successfully completed must be clear from the documentary evidence (such as consortium agreement and bank transfers between consortium members), together with a description of the nature of the supplies provided.

# 16. 	Award criteria

Price

TENDERING

# 17. 	Deadline for submission of tenders

The deadline for submission of tenders is 06.10.2026, 14:00 hour.

# 18. 	Tender format and details to be provided

Tenders must be submitted using the standard tender form.

The tender must be accompanied by a declaration on honour on exclusion and selection criteria using the template available from the following Internet address:

https://wikis.ec.europa.eu/display/ExactExternalWiki/Annexes#Annexes-AnnexesA(Ch.2):General

Any additional documentation (brochure, letter, etc.) sent with a tender will not be taken into consideration.

# 19. 	How tenders may be submitted

Tenders must be submitted in English exclusively to the contracting authority, using the means specified in point 10 of the instructions to tenderers.

Tenders submitted by any other means will not be considered.

By submitting a tender, tenderers accept to receive notification of the outcome of the procedure by electronic means.

# 20.	Alteration or withdrawal of tenders

Tenderers may alter or withdraw their tenders by written notification prior to the deadline for submission of tenders. No tender may be altered after this deadline.

Any such notification of alteration or withdrawal shall be prepared and submitted in accordance with point 15 of the instructions to tenderers.

# 21. 	Operational language

All written communications for this tender procedure and contract must be in English.

# 22.	Additional information

Financial data to be provided by the candidate in the standard application form  must be expressed in EUR. If applicable, where a candidate refers to amounts originally expressed in a different currency, the conversion to EUR shall be made in accordance with the InforEuro exchange rate of September 2026, which can be found at the following address: http://ec.europa.eu/budget/graphs/inforeuro.html.

* * *

Please note that the EU Official Journal contains the official list of entities subject to restrictive measures and, in case of conflict, it prevails over the list of the EU Sanctions Map.