# ANNEX II + III:	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

# Contract title: Supply of IT equipment and surveillance and monitoring equipment	p 1 /…

Publication reference: Prespa Green & Blue Initiative, 09-2983/1

Columns 1-2 should be completed by the contracting authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the contracting authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words ‘compliant’ or ‘yes’ are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

LOT 1: Supply of 2 (two) Telescopes

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1. | 2 (two) Telescopes |  |  |  |
|  | Objective/aperture: 70–82 mm |  |  |  |
|  | Magnification: 20–60x zoom |  |  |  |
|  | Eyepieces: Quality zoom (20–60x) and (12–20 mm) |  |  |  |
|  | Coatings: Fully multi-coated (FMC) optics |  |  |  |
|  | Close focus: ≤3–4 m for nearby birds/animals |  |  |  |
|  | Eye relief: ≥15 mm |  |  |  |
|  | Mechanical / mount |  |  |  |
|  | Tripod: Sturdy aluminum or light carbon-fiber tripod |  |  |  |
|  | Weight 3–6 kg |  |  |  |
|  | Weatherproofing: Waterproof and nitrogen- or argon-filled |  |  |  |
|  | Controls: Smooth zoom/focus knobs with good tactile feedback. |  |  |  |
|  | Accessories: Padded carry case or bag Lens caps, rain/shade hood, cleaning kit Protective eyepiece cover / dust cap |  |  |  |
|  | Minimum 2 (two) years warranty |  |  |  |

the Incoterm applicable shall be DDP Resen . The equipment must be delivered in Resen.

* The contractor must provide guideline and short presentation for using equipment to the employees in Municipality of Resen;

LOT 2: Supply of 3 (three) Cameras-Photo traps

| 1. Item number | 2. Specifications required | 3. Specifications offered | 4. Notes, remarks, ref to documentation | 5. Evaluation committee’s notes |
| --- | --- | --- | --- | --- |
| 1. | 3 (three) Cameras-Photo traps |  |  |  |
|  | Image sensor: min 5 megapixel color CMOS |  |  |  |
|  | Day/night mode: Yes |  |  |  |
|  | IR range: min 2 0 m |  |  |  |
|  | Memory: SD card (8MB - 32GB) |  |  |  |
|  | LEDs: min 20 pieces without glow |  |  |  |
|  | Lens: min F=1.8; FOV=120°; |  |  |  |
|  | Photo size: 8 MP / 14 MP / 36 MP |  |  |  |
|  | Photo format: JPEG |  |  |  |
|  | Video resolution: min 1080P , 4K |  |  |  |
|  | Video length: 5–180 sec., programmable |  |  |  |
|  | Shutter speed: min 0.3 s |  |  |  |
|  | Power supply: Batteries |  |  |  |
|  | GPRS Email: Yes MMS Phone: Yes |  |  |  |
|  | Sending large images: Support sending original images Sending video: Supported sending video |  |  |  |
|  | Low battery warning |  |  |  |
|  | Interface: USB / SD card / DC port / Micro SIM card |  |  |  |
|  | Mounting: Strap; tripod |  |  |  |
|  | Operating temperature: -40°C to 60°C |  |  |  |
|  | Storage temperature: -40°C to 70°C |  |  |  |
|  | Operating humidity: 5% - 90% |  |  |  |
|  | Waterproof: IP67 |  |  |  |
|  | 1 set of batteries |  |  |  |
|  | Minimum 2 (two) years warranty |  |  |  |

the Incoterm applicable shall be DDP Resen . The equipment must be delivered in Resen.

* The contractor must provide guideline and short presentation for using equipment to the employees in Municipality of Resen;